## Inventory
Location | Description | Unit | Model | SN/Lot | Remark | Image_URL
C2 | Stuff | 1
C2 | UX100 | 5 | UX100
E4 | Touchstone Stuff | 1 |  |  |  | https://www.saturdayeveningpost.com/wp-content/uploads/satevepost/2019-12-19-random-stuff-860x573.jpg
B1 | Mayfield Stuff | 1 |  |  |  | https://media-ecn.s3.amazonaws.com/embedded_image/2016/02/fda.jpg
B2 | Omni-Tract Stuff | 1 |  |  |  | https://products.integralife.com/ccstore/v1/images/?source=/file/products/Omni-Tract%20Flexible%20Wishbone%20Urologic%20Surgery%20Retractor%20System%20OS%201%20Image.png
A1 | BNS RF Lesion Generator for Neurosurgery | 1 | RFE2-C |  |  | https://www.bnsmed.com/data/watermark/20200924/5f6c31aea1382.jpg
A1 | Codman Electrosurgical Generator | 1 | 901001ESUO |  |  | https://products.integralife.com/ccstore/v1/images/?source=/file/products/Codman%20Electrosurgical%20Generator%20OS%201%20Image.jpg
A1 | Elliquence Surgi-Max Plus | 1 | IEC4-SP |  |  | https://www.elliquence.com/wp-content/uploads/2016/01/Surgi-Max-Plus-Device.jpg
A2 | Integra Duo Headlight & Accessory | 1 | 90600 |  |  | https://www.aamedicalstore.com/SSP Applications/AA Medical SCA/AA Medical/img/Product Images/Integra-Duo-LED-Headlight-Set_01.JPG
A2 | Lextec Lightsource | 1 | 00MLX |  |  | https://products.integralife.com/ccstore/v1/images/?source=/file/v6400991064904479991/products/MLX-300-Xenon-Lightsources.jpg
A3 | BNS 4-Channel RF Lesion Generator | 1 | RFE4-B |  |  | https://www.bnsmed.com/data/watermark/20200924/5f6c30bda627b.jpg
A3 | BNS RF Lesion Generator for Neurosurgery | 1 | RFE2-C |  |  | https://www.bnsmed.com/data/watermark/20200924/5f6c31aea1382.jpg
C1 | Codman Certas Plus | 1 | 82-8852 |  | System Failure, Missing Magnet | https://products.integralife.com/ccstore/v1/images/?source=/file/v3841902670343812321/products/ETK_01.png
C1 | Codman Certas Plus | 1 | 82-8852 |  | Unable to power-on | https://products.integralife.com/ccstore/v1/images/?source=/file/v3841902670343812321/products/ETK_01.png
C1 | Codman Licox PtO2 Monitor | 1 | LCX02 | 2150601326 | Functional | https://products.integralife.com/ccstore/v1/images/?source=/file/v7357354864197611707/collections/licox.jpg
C1 | Codman Medos Valve Programmer | 1 | 82-3126 | 847 | Functional | https://products.integralife.com/ccstore/v1/images/?source=/file/v5137398853523069574/products/823190.jpg
C1 | Codman Medos Valve Programmer | 1 | 82-3126 | 1173 | Functional | https://products.integralife.com/ccstore/v1/images/?source=/file/v5137398853523069574/products/823190.jpg
C1 | Integra LicocCMP Tissue Oxygen Pressure Monitor | 1 | 144733 | 1629 | Missing Power Supply | https://products.integralife.com/ccstore/v1/images/?source=/file/v7357354864197611707/collections/licox.jpg
C1 | Integra Luxtec Lightsource | 1 | 00MLX | 16G00MLX7347 | GHK Trade-in, Dead motherboard | https://products.integralife.com/ccstore/v1/images/?source=/file/v6400991064904479991/products/MLX-300-Xenon-Lightsources.jpg
C1 | Integra Luxtec Lightsource | 1 | 00MLX | 16K00MLX7896 | STH Trade-in, Dead motherboard | https://products.integralife.com/ccstore/v1/images/?source=/file/v6400991064904479991/products/MLX-300-Xenon-Lightsources.jpg
B3 | Stuff | 1 |  |  |  | https://www.saturdayeveningpost.com/wp-content/uploads/satevepost/2019-12-19-random-stuff-860x573.jpg
B3 | Test | 1
D2 | New Item | 1
D2 | New Item | 1 |  | 123